## Slide 1: The MegaDerm 3000
Team 9
Kristen Hagan
Mahy Hussain
Laura Kenyon
Thomas Leahy

## Slide 2: Process Overview

## Slide 3
Perform single-image Analysis on every image
Process Overview
Prompt user to input image stack
Prompt user to crop the ruler and mole
Find the pixel/mm conversion factor
Detect the
lesion border
Calculate lesion
area
Calculate asymmetry coefficients
Calculate Color
Variation Coefficients
Perform time-lapse analysis for individual data collected from every image
Border Contour Map
Change in area over time
Change in asymmetry over time
Change in color variation over time

## Slide 4
Input Image Stack
Images requires lesion and millimeter ruler at same focal length for pixel-mm conversion factor calculation

## Slide 5
User Input - Cropping
Ruler Crop
Mole Crop

## Slide 6
Finding the mm/pixel conversion factor (CF)
dx
dy
Notes: 𝑑= √(〖𝑑𝑥〗^2+〖𝑑𝑦〗^2 )
𝑑= √(〖𝑑𝑥〗^2+〖𝑑𝑦〗^2 )
𝐶𝐹= (1 𝑚𝑚)/(𝑑 𝑝𝑖𝑥𝑒𝑙𝑠)

## Slide 7
Detecting the lesion border
XY Coordinates for the Border
Binarized Image

## Slide 8
Calculate the lesion area
Binarized Image
Sum the number of pixels considered part of the mole
Convert the area to millimeters

## Slide 9
Calculate asymmetry coefficients
Circularity Index
A measure of how much of a perfect circle the lesion is
where
Note: If Circ > 1, the object is elliptical. If Circ < 1, the object must have fairly jagged edges.
Plane of Symmetry Testing
Rotate through θ from 0° to 179°.
Overlap the image across the line of symmetry and calculate the percent match.
Output the highest percent match as the symmetry coefficient
θ
Difference in Elliptical Perimeter
Fit the object to an ellipse based off of major and minor axes
Calculate the difference in perimeters between the two as a percentage (object perimeter as described previously). A higher percentage value means the object has more jagged edges.

## Slide 10
Calculate color variation coefficients
Kristen do this, idk wat it is

## Slide 11
Timelapse Creation:
Border Contour

## Slide 12
Time-lapse Creation:
Area

## Slide 13
Time-lapse Creation:
Asymmetry

## Slide 14
Time-lapse Creation:
Color Variation
Kristen do this, idk wat it is

## Slide 15: Validation