## Slide 1: The MegaDerm 3000
Team 9
Kristen Hagan
Mahy Hussain
Laura Kenyon
Thomas Leahy

## Slide 2: Process Overview

## Slide 3
Perform single-image Analysis on every image
Process Overview
Prompt user to input image stack
Prompt user to crop the ruler and mole
Find the pixel/mm conversion factor
Detect the
lesion border
Calculate lesion
area
Calculate asymmetry coefficients
Calculate Color
Variation Coefficients
Perform time-lapse analysis for individual data collected from every image
Border Contour Map
Change in area over time
Change in asymmetry over time
Change in color variation over time

## Slide 4
Input Image Stack
Images requires lesion and millimeter ruler at same focal length for pixel-mm conversion factor calculation

## Slide 5
User Input - Cropping
Ruler Crop
Mole Crop

## Slide 6
Finding the mm/pixel conversion factor (CF)
dx
dy
Notes: 𝑑= √(〖𝑑𝑥〗^2+〖𝑑𝑦〗^2 )
𝑑= √(〖𝑑𝑥〗^2+〖𝑑𝑦〗^2 )
𝐶𝐹= (1 𝑚𝑚)/(𝑑 𝑝𝑖𝑥𝑒𝑙𝑠)

## Slide 7
Detecting the lesion border
XY Coordinates for the Border
Binarized Image

## Slide 8
Calculate the lesion area
Binarized Image
Sum the number of pixels considered part of the mole
Convert the area to millimeters

## Slide 9
Calculate asymmetry coefficients
Circularity Index
A measure of how much of a perfect circle the lesion is
where
Note: If Circ > 1, the object is elliptical. If Circ < 1, the object must have fairly jagged edges.
Plane of Symmetry Testing
Rotate through θ from 0° to 179°.
Overlap the image across the line of symmetry and calculate the percent match.
Output the highest percent match as the symmetry coefficient
θ
Difference in Elliptical Perimeter
Fit the object to an ellipse based off of major and minor axes
Calculate the difference in perimeters between the two as a percentage (object perimeter as described previously). A higher percentage value means the object has more jagged edges.

## Slide 10
Calculate color Variation Coefficients
Kristen do this, idk wat it is

## Slide 11
Timelapse Creation:
Border Contour
Scan through lesion cropped images to find the largest image
Use CF to scale all images up to the maximum size.
Interpolate data points in between defined points created by scaling.
Plot borders on the same map as a contour map
There might be something here to make it an image???

## Slide 12
Time-lapse Creation:
Area

## Slide 13
Time-lapse Creation:
Asymmetry

## Slide 14
Time-lapse Creation:
Color Variation
Kristen do this, idk wat it is

## Slide 15: Validation

## Slide 16: Future Directions